| Tender texts as templates for construction projects in which a tender will be issued Product: VIAFLEX97 ¦ 100 -black anodised - L-Shape |  |
| --- | --- |

Aluminium path and flower bed edging, Viaflex® profile,
L-shape, deliver and install in accordance with the manufacturer's installation instructions. Flexible, interlocking special profile, black anodised with a blunt upper edge and wedge-shaped lower edge Profile

type:	Straight without hole punching for anchor/spike
Item no.:	P10E25
Profile height:	97 | 100 mm
Length:	2,500 mm 
Colour:	black anodised

Item:	Butt connector
Item no.:	V10E10
Profile height:	approx. 90 mm (approx. 10 mm lower than the edging profile and therefore 
	barely visible after installation)
Length:	100 mm
Colour:	black anodised

Item no.:	PH80
Length:	80 mm 
Height:	25 mm
Round hole:	Ø 7.5 mm
Colour:	natural aluminium silver grey

Manufacturer:	QualityEdging FZ LLC
	Tel./WhatsApp: +971 50 3464005
	www.qualityedging.com
	E-Mail: sales@qualityedging.com
	Compass Building, Al Shohada Road
	Al Hamra Industrial Zone
	Ras Al Khaimah, United Arab Emirates